## Comparison table
| This document is intended solely for internal use and authorized channel partners of Bio-Rad. This document is NOT a customer facing document. | [11 empty] | This document is intended solely for internal use and authorized channel partners of Bio-Rad. This document is NOT a customer facing document. | [11 empty] | This document is intended solely for internal use and authorized channel partners of Bio-Rad. This document is NOT a customer facing document. | [11 empty] | This document is intended solely for internal use and authorized channel partners of Bio-Rad. This document is NOT a customer facing document.
Brand Name | Bio-Rad | Bio-Rad | Bio-Rad | Bio-Rad | Bio-Rad | Immucor Werfen | Immucor Werfen | Grifols | Grifols | Grifols | QuidelOrtho | QuidelOrtho | QuidelOrtho | QuidelOrtho | QuidelOrtho | QuidelOrtho | Hamilton | Hamilton | Hamilton | Diagast | Diagast | Diagast | Diagast | Beckman | Beckman | Tulip | Tulip | Hench | Hench | Hench | Scanacon | MedCaptain | MedCaptain | Yantai Addcare | Yantai Addcare | Aikang | Aikang | Aikang | Aikang | DiaPro | Essange Reagents | DIaPro /Across | DIaPro /Across
Manufacturer | Bio-Rad | Bio-Rad | Bio-Rad | Stratec | Stratec | Stratec | Bio-Tek | Grifols | Grifols | Grifols | TECAN | TECAN | TECAN | TECAN | Grifols | TECAN | [7 empty] | Beckman | Beckman | Indian company | Indian company
Instrument Name | IH-1000 | IH-500 | IH-500 NEXT | TANGO Optimo | TANGO infinity | Galileo Neo | Echo Lumena | Erytra | Erytra Eflexis | Wadiana | Ortho Vision | Ortho Vision Swift | Ortho Vision Max | Ortho Vision Max Swift | ProVue | AutoVue Innova | Microlab IVD | Microlab STARmini IDV | Microlab STARlet IVD | QWALYS® EVO | QWALYS® 3 | QWALYS® 3 EVO | ONYX® | PK7300 | PK7400 | Matrix AutoMax | Matrix AutoMini | YBXK-2A | ZJWT-4150 | ZJWT-4100 | SA-80 | BT-70 | BT-30 | AISEN170 | AISEN90 | Aigel 400 | Aigel 300 | Aigel Mini | Master | Across Auto System octo-m | Magister C24 | octo-hawk | octo-m
Photo | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! |  | #VALUE! | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Web Page | https://www.bio-rad.com/ | https://www.bio-rad.com/ | https://www.bio-rad.com/ | https://www.bio-rad.com/ | https://www.bio-rad.com/ | https://transfusionandtransplant.werfen.com/ | https://transfusionandtransplant.werfen.com/ | https://www.diagnostic.grifols.com/ | https://www.diagnostic.grifols.com/ | https://www.diagnostic.grifols.com/ | https://go.orthoclinicaldiagnostics.com/ | https://go.orthoclinicaldiagnostics.com/ | https://go.orthoclinicaldiagnostics.com/ | https://go.orthoclinicaldiagnostics.com/ | https://go.orthoclinicaldiagnostics.com/ | https://go.orthoclinicaldiagnostics.com/ | https://www.hamiltoncompany.com/ | https://www.hamiltoncompany.com/ | https://www.hamiltoncompany.com/ | https://www.diagast.com/ | https://www.diagast.com/ | https://www.diagast.com/ | https://www.diagast.com/ | https://www.beckmancoulter.com/ | link | https://www.tulipgroup.com/products-instruments-range.html | https://www.tulipgroup.com/products-instruments-range.html | http://www.henchld.com/ |  |  | https://www.scanacon.com/ | https://www.medcaptain.com/ |  | http://www.addcare.cn/ | http://www.addcare.cn/ | link | link |  |  | link | link
Life Cycle & Commercialization
Place of Origin | Switzerland | Switzerland | Switzerland | Germany | Germany |  |  | Spain | Spain | Spain | [6 empty] | Switzerland | Switzerland | Switzerland | France | France | France | France | Japan | Japan | [8 empty] | China | China | China | China |  |  | Turkey | Netherlands
Year Launch | 2010 | 2015 | 2023 |  | 2015 | 2010 | 2016 CE Marked | 2010 | 2017 | 1998 | 2014 | 2021 | 2016 | 2021 |  | 2009 |  |  |  | 2004 | 2009 | 2017 | TBD | 19XX | 2020 |  | 2023 | [13 empty] | 2015
Year Discontinuance | on market | 2023 | on market | 2013 | 2023 |  |  | on market | on market | on market | [13 empty] | 2023 | on market | [15 empty] | N/A
Commercialisation region | WW | WW | WW | WW | WW | WW | WW | WW | WW | WW | WW | WW | WW | WW |  | WW | [7 empty] | WW - selected countries with consolidated Blood banks | WW - selected countries with consolidated Blood banks | [10 empty] | China | China |  |  |  | Outside US Netherlands Asia
Installed base
Est. 2024 WW Installed Base | 2000 | 2100 | 500 | 350 |  | >500 | >500 | 100-150 (EU) |  | >1500 | >300 |  | N/A |  | >1500 | >2300 (ROW) | [7 empty] | 150 | 200
Integration
Automation Level | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | fully automated | [9 empty] | fully automated | fully automated | [6 empty] | Fully automated | Fully automated |  |  | Not really. For the reading a manual step is required |  |  | Fully automated
Track System Connectivity | No | No | No | No | No | [18 empty] | No | No
Additional modules necessary | none | Yes (PC) | Yes (PC) | Yes (PC) | Yes (PC) | none | Yes (PC) | none | none | Yes (PC) | none | none | none | none | Yes (PC) | Yes ( PC) | [21 empty] | none | none
Dimension
Size (cm) | 170x80x170 | 108x90x78 | 108x90x78 | 140x75x75 | 135x72x90 | 240x175x95 | 114x48x57 | 110x175x70 | 110 x 71 x 91 cm | 100x65x65 | 107.4x88.9x77.0 | 107.4x88.9x77.0 | 169.0x88.9x77.0 | 169.0x88.9x77.0 | 100x65x65 | 160x90x75 | [9 empty] | 150x80x101cm (LxBxH)
Weight (kg) | 540 | 200 | 200 | 140 | 165 | 395 | 53 | 320 | 173 | 100 | Instrument 192kg Table 120.2kg | Instrument 192kg Table 120.2kg | 290 | 290 | 100 | 280 | [9 empty] | 250 kg
Electric specifications | 100-120 V / 220-240 V 50-60 Hz 1350 VA | 100-120 V / 220-240 V 50-60 Hz | 100-120 V / 220-240 V 50-60 Hz | 100-120V / 200-240 V, 50/60 Hz | 100-120V / 200-240 V, 50/60 Hz | 90-250 V, 50-60 HZ, 800 VA, inverter included | 100-120 V / 220-240 V 50-60 Hz | 100-120 V / 220-240 V ~+/-10% | 100-240 V 50/60 Hz 600 W. | 100-120 V / 220-240 V 50-60 Hz | 100–240 V AC 50/60 Hz 1000 VA | 100–240 V AC 50/60 Hz 1000 VA | 100-120 V / 220-240 V 50-60 Hz | 100-120 V / 220-240 V 50-60 Hz | 100-120 V / 220-240 V 50-60 Hz | 100-120V / 200-240 V, 50/60 Hz, 520 VA | [9 empty] | 260W / 220VAC, 50Hz
Technology
Agglutination technique | 6 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | Microplates | Microplates | Microplates | Microplates | 8 Well Gel Cards | 8 Well Gel Cards | 8 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards |  |  |  | Microplates | Microplates | Microplates | M-TRAP® technology | Microplates | Microplates | Gel cards | Gel cards |  |  |  |  | 8 Well Gel Cards | 8 Well Gel Cards | 6 Well Gel Cards | 6 Well Gel Cards | 8 Well Gel Cards | 8 Well Gel Cards |  |  | 8 Well Gel Cards | 6 Well Gel Cards
System liquid | Decon 90 to 0.3% | Washsolution A | Washsolution A | DI water | DI water | DI water | DI water | Wash A and B | Wash A and B | Wash A and B | Saline & DI water | Saline & DI water | Saline & DI water | Saline & DI water | Wash solution | Saline & DI water
Blood group and Phenotyping
System | gel cards | gel cards | gel cards | pre-coated microplate strips | pre-coated microplate strips | microplates | Micro strips | gel cards (Diagnostic Grifols) | gel cards (Diagnostic Grifols) | Gel cards | MTS Gel cards (US) BioVue cassettes (ROW) | MTS Gel cards (US) BioVue cassettes (ROW) | gel cards or cassettes | gel cards or cassettes | Gel cards | BioVue cassettes (ROW) | [9 empty] | Gel Cards | Gel Cards
Reagents | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use, test cells from Simonin (Immucor) | monoclonal, ready to use, test cells from Simonin (Immucor) | test cells, diluent (Diagnostic Grifols) | test cells, diluent (Diagnostic Grifols) | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | monoclonal, ready to use | test cells from Simonin for the AB0-RH1 groups
Antibody screening
System | Gel cards | Gel cards | Gel cards | Solidscreen | Solidscreen | Capture-R | Capture-R (coated microplates) | Gel cards | Gel cards | Gel cards | MTS Gel cards (US) BioVue cassettes (ROW) | MTS Gel cards (US) BioVue cassettes (ROW) | MTS Gel cards (US) BioVue cassettes (ROW) | MTS Gel cards (US) BioVue cassettes (ROW) | Gel cards | BioVue cassettes (ROW) | [9 empty] | Gel Cards | Gel Cards
Reagents | test cells | test cells | test cells | test cells | test cells | coated microplates | coated microplates | test cells | test cells | test cells | test cells | test cells | test cells | test cells | test cells | test cells
Titration | No | Yes 1:2048 | Yes | No | No | Yes | yes | Yes 1:2048 (The analyser aspirates new sample for each dilution. Technically not a serial dilution, and wastes too much sample therefore is not fit for purpose) | Yes 1:2048 (The analyser aspirates new sample for each dilution. Technically not a serial dilution, and wastes too much sample therefore is not fit for purpose) | No | Yes 1:1024 | Yes 1:1024 | Yes 1:1024 | Yes 1:1024 | No | No
Other realized tests | Crossmatch, DAT, Antibody identification, Single antigen testing, D weak testing | Crossmatch, DAT, Antibody identification, Single antigen testing, D weak testing | Crossmatch, DAT, Antibody identification, Single antigen testing, D weak testing | Crossmatch, DAT, Antibody identification | Crossmatch, DAT, Antibody identification | Crossmatch, DAT, Antibody identification, D weak testing | Crossmatch, DAT, Antibody identification, D weak testing | Crossmatch, DAT, Antibody identification, Single antigen testing, D weak testing | Crossmatch, DAT, Antibody identification, Single antigen testing, D weak testing |  | Antibody Identification, Crossmatch, Direct Antiglobulin, Antigen Testing, QC Testing | Antibody Identification, Crossmatch, Direct Antiglobulin, Antigen Testing, QC Testing | Crossmatch, DAT, Antibody identification | Crossmatch, DAT, Antibody identification |  | Crossmatch, DAT, Antibody identification
Reagents
Reagents capacity | 28 stirred + diluents racks | 34 stirred and cooled + 7 Diluent Racks | 34 stirred and cooled + 7 Diluent Racks | 12 cooled and stirred 6 non stirred 10 microplates | 15 cooled and stirred 12 non-stirred 10 microplates | 24 (DAT Pos Control Cell 7 days Indicator Cells 24 hr Reagent/cells 72 hours "software does not monitor on-board expiration") | 16 | 36 stirred 12 non-stirred 6 positions for diluents No cooling | 34 stirred 10 non-stirred 2 positions for diluents No cooling | 16 + 2 Diluents no cooling | 11x3mL vials or 6x10mL vials no cooling Different racks for each different reagent type, same for all the instruments | 11x3mL vials or 6x10mL vials no cooling Different racks for each different reagent type, same for all the instruments | 22x3mL vials or 12x10mL vials no cooling Different racks for each different reagent type, same for all the instruments | 22x3mL vials or 12x10mL vials no cooling Different racks for each different reagent type, same for all the instruments | 16 + 2 Diluents | 16 stirred | [9 empty] | 12
Diluent | Racks to avoid carry over | Racks to avoid carry over | Racks to avoid carry over |  |  | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over) | Bottles (risk of carry over)
Cards capacity | 240 cards (1440 wells) 20 different | 98 + 72 62 different | 98 + 72 62 different |  |  | 15 microplates | 32 microstrips | 400 cards 16 different | 200 cards 8 different | 24 | 148 >7 different | 148 >7 different | 256 >12 different | 256 >12 different |  | 250 (1500 wells)
Cards on-board stability | 7 days/150' for partially used cards | 21 days (new or partially used) | 21 days (new or partially used) |  |  |  |  | until expired(new or partially used) | until expired(new or partially used) |  | until expired(new or partially used) | until expired(new or partially used) | until expired(new or partially used) | until expired(new or partially used)
Gel Control | yes | yes | yes | NA | NA | NA | NA | yes | yes |  | yes | yes | yes | yes
Disposal capacity | 400 cards | Internal (50) External (400) | Internal (50) External (400) |  |  |  | No | 400 cards waste |  | No | 100 cassettes / 5.2 litres liquid waste | 100 cassettes / 5.2 litres liquid waste |  |  |  | 250 cards waste
Sample management
Loading capacity | 180 | 50 | 50 | 144 | 120 | 224 | 20 | 96 (same rack) | 72 (same rack) | 48 | 42 (same rack) | 42 (same rack) | 84 (same rack) | 84 (same rack) | 48 | 42 |  |  | 2x96 |  |  |  |  | 120 | 12 racks or 120 samples; continuous sample-rack loading allowed | 96 | [7 empty] | 144 | 72 | 96 | 96 |  |  | 76 | 32
Random access | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes but with possivble waiting time | Yes but with possivble waiting time | Yes but with possivble waiting time | Yes but with possivble waiting time | No | Yes | [8 empty] | yes | Yes | Yes
Emergency sample loading (STAT) | yes no user action | yes no user action | yes no user action | Yes | Yes | Yes, with user action | Yes | Yes Long procedure | Yes Long procedure | Yes | Yes Assignation via SW | Yes Assignation via SW | Yes Assignation via SW | Yes Assignation via SW | Yes | Yes
Min. sample volume | 0.2 mL | 0.1 mL | 0.1 mL | 1 mL | 1 mL | 0.25 mL test cells and 0.5 mL plasma | Empty | 0.25 mL / 1 mL |  | 0.2ml | [5 empty] | 0.3mL
Pediatric samples possible | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes
Barcodes | code 128, code 39 standard, code 39 full ASCII, 2/5 interleaved, ISBT 128 | code 128, code 39 standard, code 39 full ASCII, 2/5 interleaved, ISBT 128, CODABAR, EAN-8,-13, UPC-A,-EAN128, Eurocode | code 128, code 39 standard, code 39 full ASCII, 2/5 interleaved, ISBT 128, CODABAR, EAN-8,-13, UPC-A,-EAN128, Eurocode | Codabar, code 39, 2/5interleaved, EAN, code 128 | Codabar, code 39, 2/5interleaved, EAN, code 128 | Codabar, code 128, code 39, 2/5 interleaved, ISBT 128 | Codabar, code 128, code 39, 2/5 interleaved, ISBT 128 | all | all | Codabar, code 128, code 39, 2/5 interleaved, | NW7(Codabar), ISBT128, Code 128 (A,B;Csubtypes), Code 3 of 9, Code 39, 2/5 interleaved | NW7(Codabar), ISBT128, Code 128 (A,B;Csubtypes), Code 3 of 9, Code 39, 2/5 interleaved | NW7(Codabar), ISBT128, Code 128 (A,B;Csubtypes), Code 3 of 9, Code 39, 2/5 interleaved | NW7(Codabar), ISBT128, Code 128 (A,B;Csubtypes), Code 3 of 9, Code 39, 2/5 interleaved | Codabar, code 128, code 39, 2/5 interleaved, | code 128C, 2/5 interleaved, Codabar, ISBT 128, code 39, UPC
Tube rejection if Id twice | Yes | Yes | Yes | Yes, manageing separete tubes for red cells and plasma | Yes, manageing separete tubes for red cells and plasma | Yes | Yes | Yes |  | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Determination of the run when more than 2 errors on reading | No | No | No | No | No | No |  | No |  |  | Yes | Yes | Yes | Yes |  | Yes
Liquid level detection | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | [24 empty] | yes
Cooled reagents | No (1 day) | Yes (7days on-board stability) | Yes (7days on-board stability) | Yes | Yes | No (1 -3 days) | No | No 5 days | No 5 days | No | Yes (2-5 days on-board stability) | Yes (2-5 days on-board stability) | Yes (2-5 days on-board stability) | Yes (2-5 days on-board stability) | No | No
Dispense verification | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Cap detection | ✓ Proactively detects caps upon sample loading. Prevents crash from ever happening. | All Bio-Rad reagent vial caps are detected by the IH-500 | All Bio-Rad reagent vial caps are detected by the IH-500 | No | X (Physical Design prevents loading capped samples) | No | No | YES Using the needle | YES Using the needle | No | Using the needle Cap detection may causes an interruption of the run. | Using the needle Cap detection may causes an interruption of the run. | Using the needle Cap detection may causes an interruption of the run. | Using the needle Cap detection may causes an interruption of the run. | No | No
Types | Serum/Plasma Donor segments (1-2) Cord Blood | Serum/Plasma, Blood bag segments | Serum/Plasma, Blood bag segments |  | Serum, Plasma, anticoagulated RBC, donor segments, cord blood | Plasma, Serum Red Cells |  |  |  |  | Centrifuged whole blood Plasma and Serum Packed red blood cells Different racks for each different tube | Centrifuged whole blood Plasma and Serum Packed red blood cells Different racks for each different tube | Centrifuged whole blood Plasma and Serum Packed red blood cells Different racks for each different tube | Centrifuged whole blood Plasma and Serum Packed red blood cells Different racks for each different tube |  | Centrifuged Whole Blood Packed Red Blood Cells 3-5% and 0.8% Red Cell Suspensions Serum or Plasma | [7 empty] | Plasma, serum, red blood cells; red blood cell suspension | Plasma, serum, red blood cells | [8 empty] | centrifuged whole blood/ packed red blood cells/ 3-5% and 0.8% red cell suspensions/serum or plasma | centrifuged whole blood/ packed red blood cells/ 3-5% and 0.8% red cell suspensions/serum or plasma
Container Sizes | 12-17mm(D) & Pediatric | 10-17mm (D) | 10-17mm (D) |  | 10-16.5mm(D) & Pediatric
Minimum Requirements | RBCs: 350uL Plasma: 350uL |  |  |  | 1 ml
Clot detection | ✓ | ✓ | ✓ |  | ✓ |  |  | ✓ | ✓ |  | ✓ | ✓ | ✓ | ✓ | [26 empty] | ✓ | ✓ | ✓
Reading unit
Type | CCD camera | CCD camera | CCD camera | HD CCD camera | HD CCD camera | CCD camera | CCD camera | CCD camera | CCD camera | CCD camera |  |  |  |  | CCD camera | CCD camera
Rawdata available | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Images available for transfer | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Reactions available for visual check | Yes | Yes | Yes | (Yes) | (Yes) | Yes | Yes | Yes | Yes | (Yes) | Yes | Yes | Yes | Yes | (Yes) | Yes
Traceability
Reagents | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes file downloading | Yes file downloading | Yes file downloading | Yes file downloading | Yes | Yes
on-board time tracking | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes
Samples | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Analytical settings | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes |  | Yes
Manual inputs | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Bidirectional communication | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Internal quality control | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Reagent information | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes
Interface to sample management software | Yes (IH-Com, IH-Web) | Yes (IH-Com, IH-Web) | Yes (IH-Com, IH-Web) | Yes (Multi Link) | Yes (Multi Link) | Immulink | Immulink | Blood Typing Manager Web based | Blood Typing Manager Web based | Blood Typing Manager Web based | Ortho Connect | Ortho Connect | Ortho Connect | Ortho Connect |  | Yes
Test Menu
Blood group | Blood grouping ABO/D | Blood grouping ABO/D | Blood grouping ABO/D |  | Blood grouping ABO/D | ABO/RH |  | Full ABO/Rh blood | Full ABO/Rh blood | Full ABO/Rh blood | Blood grouping ABO/D | Blood grouping ABO/D | Blood grouping ABO/D | Blood grouping ABO/D |  | Blood grouping ABO/D | [17 empty] | ABO DD/Kell | ABO DD/Kell | Blood grouping ABO/D | Blood grouping ABO/D |  |  | Forward Groupng
Reverse | Reverse grouping | Reverse grouping | Reverse grouping |  |  | Direct Antiglobulin Test |  | Reverse grouping | Reverse grouping | Reverse grouping | Reverse grouping | Reverse grouping | Reverse grouping | Reverse grouping |  | Reverse grouping | [17 empty] | reverse grouping | reverse grouping | forward & reverse grouping | forward & reverse grouping |  |  | Reverse Groupng
Phenotyping | Phenotyping Rh/K | Phenotyping Rh/K | Phenotyping Rh/K |  | Phenotyping Rh/K |  |  | Rh + Kell Phenotype | Rh + Kell Phenotype | Rh + Kell Phenotype | Monoclonal Rh Phenotyping | Monoclonal Rh Phenotyping | Monoclonal Rh Phenotyping | Monoclonal Rh Phenotyping |  | Rh Phenotyping | [17 empty] | Rh(D) Rh(CcEe) | Rh(D) Rh(CcEe) | phenotyping RH/K | phenotyping RH/K |  |  | Rh and RhSub-Groupng
Antibody Screning | Antibody screening | Antibody screening | Antibody screening |  | Antibody screening with 2, 3 or pool cells | Antibody Screen |  | Unexpected antibody screening | Unexpected antibody screening | Unexpected antibody screening | Antibody Screen | Antibody Screen | Antibody Screen | Antibody Screen |  | Antibody Screening | [17 empty] | antibody screening | antibody screening | antibody screening | antibody screening |  |  | Antbody Screenng
Identification | Antibody identification | Antibody identification | Antibody identification |  | Antibody identification | Antibody Identification |  | Antibody Identification | Antibody Identification | Antibody Identification | Antibody Identification | Antibody Identification | Antibody Identification | Antibody Identification |  | Antibody Identification | [17 empty] | antibody identification | antibody identification | antibody identification | antibody identification |  |  | Antbody Identficaton
DAT | Direct AHG test (DAT) | Direct AHG test (DAT) | Direct AHG test (DAT) |  | Direct AHG test (DAT) |  |  | Direct Antiglobulin Tests | Direct Antiglobulin Tests |  | Direct Antiglobulin | Direct Antiglobulin | Direct Antiglobulin | Direct Antiglobulin |  | Direct Antiglobulin | [17 empty] | direct AHG test(DAT) | direct AHG test(DAT) | direct AHG test | direct AHG test
XM | Crossmatching | Crossmatching | Crossmatching |  | Crossmatching | IgG Crossmatch |  | Crossmatch test | Crossmatch test | Crossmatch test | Crossmatch | Crossmatch | Crossmatch | Crossmatch |  | Patient/Donor Crossmatching | [17 empty] | crossmatching | crossmatching | crossmatching | crossmatching |  |  | Cross Match
Single antigen testing | Single antigen testing | Single antigen testing | Single antigen testing |  | D typing - including weak D | Antigen Typing |  | Antigen Typing | Antigen Typing |  | Antigen Testing | Antigen Testing | Antigen Testing | Antigen Testing |  | Special Antigen Typing | [17 empty] | single antigens | single antigens |  |  |  |  | Mnor AntgenTests
Titration | NO | YES | YES |  | ABO titration | ABO titration |  | YES, 150ul selection of the dilution | YES, 150ul selection of the dilution |  | Serial Dilutions for Titration Studies | Serial Dilutions for Titration Studies | Serial Dilutions for Titration Studies | Serial Dilutions for Titration Studies | [21 empty] | antibody titration | antibody titration |  |  | Antbody Ttraton
Others | [5 empty] | CMV Antibody Testing |  | Determination of special antigens | Determination of special antigens | Weak D | QC Testing | QC Testing | QC Testing | QC Testing |  | Enzyme Testing | [17 empty] | Newborn-ABO-Rh | Newborn-ABO-Rh |  |  |  |  | Weak D / Partal D
[5 empty] | ABO serum reverse testing | Syphilis Testing |  | Self diagnostic | Self diagnostic | Self diagnostic | Selected Cell Panels | Selected Cell Panels | Selected Cell Panels | Selected Cell Panels |  | QC Testing | [17 empty] | AHG Polyspecific | AHG Polyspecific |  |  |  |  | Forward &Reverse Groupng
[8 empty] | Enzyme assays | Enzyme assays | Determination of special antigens | Donor Confirmation | Donor Confirmation | Donor Confirmation | Donor Confirmation | [19 empty] | ADK | ADK |  |  |  |  | Drect Coombs
[8 empty] | Direct Coombs test | Direct Coombs test | Enzyme assays | DAT Breakdown | DAT Breakdown | DAT Breakdown | DAT Breakdown
[8 empty] | Weak D | Weak D | Direct Coombs test
Size fit
Stand feature | Floor Stand | Bench Top / Floor Stand | Bench Top / Floor Stand |  | Tabletop (optional workbench) | Floor Stand |  | Floor Stand | BenchTop | BenchTop | BenchTop | BenchTop | BenchTop | BenchTop |  | BenchTop |  |  | Bench Top |  | Bench Top | Bench Top |  | Floor Stand | Floor Stand |  |  | Bench Top |  |  | Bench Top | Floor Stand | Bench Top | Floor Stands | Bench Top | Bench Top | Bench Top |  |  | Floor Stand | Bench Top
Dimensions | 5.7'x 5.5 'x 2.7' 68.1 x 66.6 x 32.4 in | 42,2 x 33,4 x 38,5 in | 42,2 x 33,4 x 38,5 in |  | 4.4 'x 2.4' x 3' 52 x 28 x 36 in |  |  | 110 cm x 70 x 175 cm (43.3 x 27.6 x 68.9 in) | 110 x 71 x 91 cm (43.3 x 27.9 x 35.8 in) | 100 x 60 x 65 cm (39.4 x 23.6 x 25.6 in) | 42,3 x 30,3 x 35 in | 42,3 x 30,3 x 35 in | 66,5 x 30,3 x37 in | 66,5 x 30,3 x37 in |  | 63 x 35 x 29 in | [5 empty] | 38,6 x 57,1 x 30,7 in |  | 69,2 x 36,2 x 53,1 in | 1,760 mm (W) x 920 mm (D) x 1,380 mm (H) / 69 in (W) x 36 in (D) x 54 in (H) | [9 empty] | 29,9 x 26,3 x 35,4 in | 41,3 x 31,1 x 41,9 in | 66,9 x 31,1 x 45,6 in |  |  |  | 33,5 x 33,5 x 33,5 in
lenght without Computer
lenght without Computer | 15 ft2 |  |  |  | 14 ft2 |  |  | 110 cm |  |  | 107 | 107
Additional Space Requirements | Space to open drawer & waste cabinet doors | Table (optional) | Table (optional) |  | None specified | [5 empty] | Table (highly recommended) | Table (highly recommended) | Table (highly recommended) | Table (highly recommended)
Weight | 1,190 lbs | 470Ibs | 470Ibs |  | 363 lbs |  |  | 771,62 lbs | 381 lbs | 191,8 lbs | 424 lbs | 424 lbs | 727,5 lbs | 727,5 lbs |  | 498,24 lbs |  |  | 297 lbs |  |  | 474 lbs |  | 1278,68 lbs | 750 kg / 1,653 lbs | [10 empty] | 317,2 lbs | 793,6 lbs |  |  |  | 176,3 Ibs
Maintenance
Daily - Operator Time/Instrument Time | 0 / 0 min | 0 / 0 min | 0 / 0 min |  | 1 min / 15 min | yes | yes |  |  |  | 10 minutes | 10 minutes | 10 minutes | 10 minutes
Weekly - Operator Time/Instrument Time | 8 / 60-80 min | 8 / 20 min | 8 / 20 min |  | 5 min / 11 min | yes | yes | 90 minutes | yes |  | 20 minutes | 20 minutes | 20 minutes | 20 minutes
Monthly - Operator Time/Instrument Time | 0 / 0 min | 0 / 0 min | 0 / 0 min |  | 15 min / 60 min | yes | yes | 75 minutes | 75 minutes |  | 10 minutes | 10 minutes | 10 minutes | 10 minutes
Total Monthly Maintenance Operator Time/Instrument Time | 32 min / 4 - 5 hrs | 32 / 80 min | 32 / 80 min |  | 65 min / 555 min | [5 empty] | 5 hours per month | 5 hours per month | 5 hours per month | 5 hours per month
Total Annual Maintenance Operator Time/Instrument Time | 6 hrs / 48 - 60 hrs | 6H / 17H | 6H / 17H |  | 13.5 hours / 113 hours | [5 empty] | 62 hours per year | 62 hours per year | 62 hours per year | 62 hours per year
Preventive - Instrument Time | 2 per year / 6 hrs (ea) | 2 per year / 6 hrs (ea) | 2 per year / 6 hrs (ea) |  | 2 per year / 4 hrs & 6 hrs
Other Specs
Operating Temperature | 15-27°C | 18-28°C | 18-28°C | 15 to 32°C | 18-28°C | 15 to 30°C | 15 to 30°C | 15 to 28°C | 15-30°C | 10 to 28°C | 18-30°C | 18-30°C | 18-30°C | 18-30°C | 10 to 28°C | 15 to 30°C |  |  | 15-35°C |  |  | 15-32°C |  | 18-30°C | 18-28°C | [15 empty] | 15-30° C
Relative Humidity | 5-80% | 5-80% | 5-80% |  | 10-85% Non Condensing |  |  |  | 85% |  | 15-85% | 15-85% | 15-85% | 15-85% |  |  |  |  | 30-85% |  |  | 30-80% |  | 20-80% | 20-80% | [15 empty] | 10-85%
Maximum Altitude | 6,562' / 2000m | 6,562' / 2000m | 6,562' / 2000m |  | 6,562' / 2000m |  |  |  | 9,843 ft. / 3000m |  | 2438m / 8000 ft. | 2438m / 8000 ft. | 2438m / 8000 ft. | 2438m / 8000 ft. | [7 empty] | 2000m / 6'562 ft.
Nb Centrifuges | 3 | 2 | 2 |  | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | [9 empty] | 1
Centrifuge capacity | 3*12 | 2*12 | 2*12 |  | 4 strips |  |  | 2*12 | 2*12 | 1 * 12 | 2 * 10 | 2 * 10 | 2 * 10 | 2 * 10 | [11 empty] | 1 * 24 | [7 empty] | 24 cards | 12 cards | 24 cards | 24 cards |  |  | 24 cards | 12 gel cards
Incubator capacity | 1*at 37 + 1*RT | 1*at 37 + 1*RT | 1*at 37 + 1*RT |  |  |  |  | 4 non independent | 3 independent |  | 2 non independent | 2 non independent | 2 non independent | 2 non independent
Pipettors | 2 | 1 | 1 |  |  | Left arm 4 probes to pipette samples. Right arm 1 probe for reagent pipetting |  | 1 arm with 2 needles | 2 (reagent+sample) |  | 1 | 1 | 1 arm wirth 4 needles | 1 arm wirth 4 needles
Single well / partially used | No, partially used for 2 hours | Yes | Yes |  |  |  |  | Yes | Yes |  | Yes | Yes | Yes | Yes
User access management | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured | access secured
Antibody identification | AbID | AbID | AbID |  |  |  |  | Yes, integrated into BTM Web based | Yes, integrated into BTM Web based |  | Resolvigen | Resolvigen | Resolvigen | Resolvigen
Carry over | 1:8000 | 1:32000 | 1:32000 |  |  |  | 1:5120 |  |  |  | 1:1024 | 1:1024 | 1:1024 | 1:1024
Remote Support | BriCare | BriCare | BriCare |  |  | Blud Direct | Blud Direct | Grifols Secure Remote Connectivity | Grifols Secure Remote Connectivity | Grifols Secure Remote Connectivity | OVL remote support and remote validation no VPN | OVL remote support and remote validation no VPN | OVL remote support and remote validation no VPN | OVL remote support and remote validation no VPN
Throughput / Hr
ABO | 60 | 36? | 36? | 18 | 18 | 40 | 12 | 66 | 35 | 16 | 25? | 25? |  |  | 16 | 30 | [8 empty] | 300 samples/hour with 5 diluted sample cups | 80 BG/Hr | 40 BG/hour
AbS | 144 | 96? | 96? | 40 | 40 | 60 | 20 | 147 | 72 | 50 |  |  |  |  | 50 | 46
Type&Screen | 70 | 32? | 32? | 12 | 12 | 30 | 12 | 48 | 23 | 12 | 18 (BioVue) | 18 (BioVue) | 19 (BioVue) | 19 (BioVue) | 12 | 26
ABO+REV | 80? | 48 | 48 |  |  |  |  | 60 | 36
Others | [12 empty] | ABO/Rh + Reverse +ABS 18 S/hr | ABO/Rh + Reverse +ABS 18 S/hr